## Slide 1
Thermal Regulator board
(repurposed from old solar hot water controller)
Overtemp Cutout board
Plug B
240VAC(L)
To pump relay
Pin3=grn=thermistor1
Pin5=blk=thermistor2
B
1
2
3
4
5
View from outside
Red +5V
Blk Gnd
Yellow = thermistor reading
Green = cutoff (0 = latched)
Y+G maybe swapped
Overtemperature Protection System (independent of Arduino)

## Slide 2
A
1
2
3
4
5
View from outside
B
1
2
3
4
5
View from outside
Pinout:
1=NC
2=Gnd
3=Overtemp sensor1
4=Solar sensor
5=Overtemp sensor2
Shell=NC
Pinout:
1=+5V Arduino
2=Gnd Arduino
3=Surgetank Level Switch
4=Onewire temp sensors
5= NC
Shell= NC

## Slide 3
Arduino UNO
520
Status LED
on case
plugA4
3k3
plugA3
relayboard
plugA1(+5V)
Relay Board
+12VDC plugpack in
8V
GND
8V from Relayboard
B=GND from Relayboard
plugA2(Gnd)
#define DIGPIN_TEMP_PROBES_ONE_WIRE_BUS 2
#define DIGPIN_PUMP 3
#define DIGPIN_CHIPSELECT_SDCARD 4
#define DIGPIN_SURGE_TANK_LEVEL 5
#define DIGPIN_CHIPSELECT_ETHERNET 10
#define DIGPIN_STATUS_LED LED_BUILTIN // expect 13
#define ANLGPIN_SOLAR_INTENSITY_PIN A4
GND
7R2
plugB4
(solar sensor)
From pin3 pump control
Realtime clock
Ethernet
Shield