Pump settings at end of season:

Timer1 start 10:00 run 2:00 AI

Timer2 start 12:00 run 3:00 medium

Timer3 start 15:00 run 2:00 AI

Timer4 start 17:00 run 0:05 high

Manual ON: medium

Pump speeds:

Low 1150 rpm

Med 2000 rpm

High 2500 rpm